## Cover
NOTICE: Copyright © 2025 CTIA Certification. All rights reserved.
CTIA Certification OTA Authorized Phantoms List
Version 1.0
This document defines the Phantoms authorized by CTIA Certification for the Test Plan for Wireless Device Over-the-Air Performance V8.0.x

## Speag Phantoms
Product Number (P/N) | Product name | Description | S/N
QD 000 P45 D-- | SAM-V4.5BS | SAM Head Phantom V4.5 w/ Broadband Simulating Gel (CTIA 3.x) | 3000 and higher
QD FAC 003 A-- | SAM-Mask6V1 | SAM Mask 6 degree V1 (right) | -
QD FAC 003 C--/D--/E-- | SAM-Mask6V2 | SAM Mask 6 degree V2 (right)
QD LOH 001 A--/B--/C-- | SHO-V2RB | SHO V2 Right Hand for Brick Phones (incl. spacer V2) | 5000 and higher
QD LOH 001 E--/F-- | SHO-V3RB | SHO V3 Right Hand for Brick Phones (incl. spacer V2)
QD LO6 001 A-- | SHO3TO6-V3RB | SHO 3TO6 GHZ V3 Right Hand for Brick Phones (incl. spacer V2) | 6-5000 and higher
QD LO6 001 A-- | SHO3TO10-V3RB | SHO 3TO10 GHZ V3 Right Hand for Brick Phones (incl. spacer V2) | 6-5000 and higher
QD 110 001 A--/B-- | mmW-BR-SHO-RV6 (SHO3TO110-V3RB) | Right Hand for Brick Phones 3 to >100 GHz V6 (incl. spacer V6) | 110-5000 and higher
QD LOH 002 G-- | SHO-RB-SV2 | SHO RB Hand Spacer V2 (for SHO-V2/3RB hands) | -
QD 110 002 A-- | mmW-BR-SRV6 | Right Spacer for mmW-BR-SHO-RV6 | -
QD LOH 030 A--/B--/C-- | SHO-V2RC | SHO V2 Right Hand for Clam-Shell Phones (incl. spacer V2) | 15000 and higher
QD LOH 030 E--/F-- | SHO-V3RC | SHO V3 Right Hand for Clam-Shell Phones (incl. spacer V2)
QD LO6 030 A-- | SHO3TO6-V3RC | SHO 3TO6 GHZ V3 Right Hand for Clam Shell Phones (incl. spacer V2) | 6-15000 and higher
QD LO6 030 A-- | SHO3TO10-V3RC | SHO 3TO10 GHZ V3 Right Hand for Clam Shell Phones (incl. spacer V2) | 6-15000 and higher
QD 110 030 A--/B-- | mmW-CS-SHO-RV6 (SHO3TO110-V3RC) | Right Hand for Clam-Shell Phones 3 to >100 GHzV6 (incl. spacer V6) | 110-15000 and higher
QD LOH 035 A-- | SHO-RC-SV2 | SHO RC Hand Spacer V2 (for SHO-V2/3RC hands) | -
QD 110 035 A-- | mmW-CS-SRV6 | Right Spacer for mmW-CS-SHO-RV6 | -
QD LOH 050 A--/B--/C-- | SHO-V2RP | SHO V2 Right Hand for PDA Phones (incl. spacer V2) | 25000 and higher
QD LOH 050 E--/F-- | SHO-V3RP | SHO V3 Right Hand for PDA Phones (incl. spacer V2)
QD LO6 050 A-- | SHO3TO6-V3RP | SHO 3TO6 GHZ V3 Right Hand for PDA Phones (incl. spacer V2) | 6-25000 and higher
QD LO6 050 A-- | SHO3TO10-V3RP | SHO 3TO10 GHZ V3 Right Hand for PDA Phones (incl. spacer V2) | 6-25000 and higher
QD 110 050 A--/B--/C-- | mmW-PDA-SHO-RV6 (SHO3TO110-V3RP) | Right Hand for PDA Phones 3 to >100 GHz V6 (incl. spacer V6) | 110-25000 and higher
QD LOH 052 A--/B--/C-- | SHO-RP-SV2 | SHO RP Hand Spacer V2 (for SHO-V2/3RP hands) | -
QD 110 052 A-- | mmW-PDA-SRV6 | Right Spacer for mmW-PDA-SHO-RV6 | -
QD LOH 060 A--/B-- | SHO-V2RD | SHO V2 Right Hand for Data Mode (incl. spacer V2) | 35000 and higher
QD LOH 060 F-- | SHO-V3RD | SHO V3 Right Hand for Data Mode (incl. spacer V2)
QD LO6 060 A-- | SHO3TO6-V3RD | SHO 3TO6 GHZ V3 Right Hand for Data Mode (incl. spacer V2) | 6-35000 and higher
QD LO6 060 A-- | SHO3TO10-V3RD | SHO 3TO10 GHZ V3 Right Hand for Data Mode (incl. spacer V2) | 6-35000 and higher
QD 110 060 A--/B-- | mmW-DM-SHO-RV6 (SHO3TO110-V3RD) | Right Hand for Data Mode 3 to >100 GHz V6 (incl. spacer V6) | 110-35000 and higher
QD LOH 062 A--/B-- | SHO-RD-SV2 | SHO RD Hand Spacer V2 (for SHO-V2/3RD hands) | -
QD 110 062 A-- | mmW-DM-SRV6 | Right Spacer for mmW-DM-SHO-RV6 | -
QD LOH 480 F-- | SHO-V3-RW-C | SHO V3 Right Hand for Ultra-Wide PDA Phones | 7000 and higher
QD LO6 480 A-- | SHO3TO6-V3RWC | SHO 3TO6 GHZ V3 Right Hand for Ultra Wide Phones CTIA (incl. spacer V3) | 6-7000 and higher
QD LO6 480 A-- | SHO3TO10-V3RWC | SHO 3TO10 GHZ V3 Right Hand for Ultra Wide Phones CTIA (incl. spacer V3) | 6-7000 and higher
QD 110 480 A--/B--/C-- | mmW-UWPDA-SHO-RV6 (SHO3TO110-V3RW-C) | Right Hand for Ultra Wide PDA Phone 3 to >100 GHz V6 (incl. spacer V6) | 110-7000 and higher
QD LOH 481 A-- | SHO-RWC-SV3 | SHO RWC Hand Spacer V3 (for SHO-V3RW-C hands) | -
QD 110 481 A-- | mmW-UWPDA-SRV6 | Right Spacer for mmW-UWPDA-SHO-RV6 | -
QD LOH 010 A--/B--/C-- | SHO-FTMV1 | SHO Fixture for Talk Mode V1
QD LOH 010 D-- | SHO-FTMV2 | SHO Fixture for Talk Mode V2
SM 028 050 A--/B-- | SHO-FDMV1 | SHO Fixture for Data Mode V1 (for Data, PDA and Wide hands)
SM 028 050 C-- | SHO-FDMV2 | SHO Fixture for Data Mode V2 (for Data, PDA and Wide hands)
SM 028 050 D-- | SHO-FX-HOTV3 | SHO Fixture X for Hand-Only-Testing V3 (for Data, PDA, Wide, TAB and THG hands)
SM 028 050 E-- | SHO-FX-HOTV4 | SHO Fixture X for Hand-Only-Testing V4 (for Data, PDA, Wide, TAB, and THG hands )
SM 028 050 F-- | SHO-FX-V5 | SHO Fixture X V5 (for Data, PDA, Wide, TAB, THG hands and forearm Phantoms)
SM 028 018 C-- | SHO-FX-V5 | SHO Fixture X V5 (for ankle phantoms)
SM 028 090 A-- | SHO-RP-DWV1 | SHO RP Data Wrist V1 (for SHO-V2RP hands)
SM 028 090 BB/BC | SHO-RP-DWV2 | SHO RP Data Wrist V2 (for SHO-V2RP hands)
SM 028 090 BD | SHO-RP-DWV4 | SHO RP Data Wrist V4 (for SHO-V2/3RP hands)
SM 028 070 AA/AB | SHO-RD-DWV1 | SHO RD Data Wrist V1 (for SHO-V2RD hands)
SM 028 070 AC | SHO-RD-DWV4 | SHO RD Data Wrist V4 (for SHO-V2/3RD hands)
SM 028 140 A-- | SHO-RWC-DWV4 | SHO RWC Data Wrist V4 (for SHO-V3RWC hands)
QD LOH 053 A-- / B-- | SHO-FTM-RSH | Set of Right Shifters for PDA and Ultra Wide PDA Hand Phantoms
SM 017 010 A--/B-- | SHO-ATB | SHO Alignement Tool B (for brick phones)
SM 017 020 A--/B-- | SHO-ATC | SHO Alignement Tool C (for clam-shell phones)
QD 000 H45 A--/B-- | SAM-PPV1 | SAM Phone positioner V1 (right and left)
115322 |  | ETS Turn-Table Adaptor for SPEAG OTA Phantoms
| PMV Set | Set of Spare PMV (Phone Mounting Velcro Stickers)
-
QD FAC 002 A-- | SAM-Mask6V1 | SAM Mask 6 degree V1 (left)
QD FAC 002 C--/D--/E-- | SAM-Mask6V2 | SAM Mask 6 degree V2 (left)
-
QD LOH 020 A--/B--/C-- | SHO-V2LB | SHO V2 Left Hand for Brick Phones (incl. spacer V2) | 1000 and higher
QD LOH 020 E--/F-- | SHO-V3LB | SHO V3 Left Hand for Brick Phones (incl. spacer V2)
QD LO6 020 A-- | SHO3TO6-V3LB | SHO 3TO6 GHZ V3 Left Hand for Brick Phones (incl. spacer V2) | 6-1000 and higher
QD LO6 020 A-- | SHO3TO10-V3LB | SHO 3TO10 GHZ V3 Left Hand for Brick Phones (incl. spacer V2) | 6-1000 and higher
QD 110 020 A--/B-- | mmW-BR-SHO-LV6 (SHO3TO110-V3LB) | Left Hand for Brick Phones 3 to >100 GHz V6 (incl. spacer V6) | 110-1000 and higher
QD LOH 021 G-- | SHO-LB-SV2 | SHO LB Hand Spacer V2 (for SHO-V2/3LB hands) | -
QD 110 021 A-- | mmW-BR-SLV6 | Left Spacer for mmW-BR-SHO-LV6 | -
QD LOH 040 A--/B--/C-- | SHO-V2LC | SHO V2 Left Hand for Clam-Shell Phones (incl. spacer V2) | 11000 and higher
QD LOH 040 E--/F-- | SHO-V3LC | SHO V3 Left Hand for Clam-Shell Phones (incl. spacer V2)
QD LO6 040 A-- | SHO3TO6-V3LC | SHO 3TO6 GHZ V3 Left Hand for Clam Shell Phones (incl. spacer V2) | 6-11000 and higher
QD LO6 040 A-- | SHO3TO10-V3LC | SHO 3TO10 GHZ V3 Left Hand for Clam Shell Phones (incl. spacer V2) | 6-11000 and higher
QD 110 040 A--/B-- | mmW-CS-SHO-LV6 (SHO3TO110-V3LC) | Left Hand for Clam-Shell Phones 3 to >100 GHz V6 (incl. spacer V6) | 110-11000 and higher
QD LOH 045 A-- | SHO-LC-SV2 | SHO LC Hand Spacer V2 (for SHO-V2/3LC hands) | -
QD 110 045 A-- | mmW-CS-SLV6 | Left Spacer for mmW-CS-SHO-LV6 | -
QD LOH 080 A--/B--/C-- | SHO-V2LP | SHO V2 Left Hand for PDA Phones (incl. spacer V2) | 20000 and higher
QD LOH 080 E--/F-- | SHO-V3LP | SHO V3 Left Hand for PDA Phones (incl. spacer V2)
QD LO6 080 A-- | SHO3TO6-V3LP | SHO 3TO6 GHZ V3 Left Hand for PDA Phones (incl. spacer V2) | 6-20000 and higher
QD LO6 080 A-- | SHO3TO10-V3LP | SHO 3TO10 GHZ V3 Left Hand for PDA Phones (incl. spacer V2) | 6-20000 and higher
QD 110 080 A--/B--/C-- | mmW-PDA-SHO-LV6 (SHO3TO110-V3LP) | Left Hand for PDA Phones 3 to >100 GHz V6 (incl. spacer V6) | 110-20000 and higher
QD LOH 082 A--/B--/C-- | SHO-LP-SV2 | SHO LP Hand Spacer V2 (for SHO-V2/3LP hands) | -
QD 110 082 A-- | mmW-PDA-SLV6 | Left Spacer for mmW-PDA-SHO-LV6 | -
QD LOH 070 A--/B-- | SHO-V2LD | SHO V2 Left Hand for Data Mode (incl. spacer V2) | 30000 and higher
QD LOH 070 F-- | SHO-V3LD | SHO V3 Left Hand for Data Mode (incl. spacer V2)
QD LO6 070 A-- | SHO3TO6-V3LD | SHO 3TO6 GHZ V3 Left Hand for Data Mode (incl. spacer V2) | 6-30000 and higher
QD LO6 070 A-- | SHO3TO10-V3LD | SHO 3TO10 GHZ V3 Left Hand for Data Mode (incl. spacer V2) | 6-30000 and higher
QD 110 070 A--/B-- | mmW-DM-SHO-LV6 (SHO3TO110-V3LD) | Left Hand for Data Mode 3 to >100 GHz V6 (incl. spacer V6) | 110-30000 and higher
QD LOH 072 A--/B-- | SHO-LD-SV2 | SHO LD Hand Spacer V2 (for SHO-V2/3LD hands) | -
QD 110 072 A-- | mmW-DM-SLV6 | Left Spacer for mmW-DM-SHO-LV6 | -
QD LOH 460 F-- | SHO-V3-LW-C | SHO V3 Left Hand for Ultra-Wide PDA Phones | 6000 and higher
QD LO6 460 A-- | SHO3TO6-V3LWC | SHO 3TO6 GHZ V3 Left Hand for Ultra Wide Phones CTIA (incl. spacer V3) | 6-6000 and higher
QD LO6 460 A-- | SHO3TO10-V3LWC | SHO 3TO10 GHZ V3 Left Hand for Ultra Wide Phones CTIA (incl. spacer V3) | 6-6000 and higher
QD 110 460 A--/B--/C-- | mmW-UWPDA-SHO-LV6 (SHO3TO110-V3LW-C) | Left Hand for Ultra Wide PDA Phone 3 to >100 GHz V6 (incl. spacer V6) | 110-6000 and higher
QD LOH 486 A-- | SHO-LWC-SV3 | SHO LWC Hand Spacer V3 (for SHO-V3LW-C hands) | -
QD 110 461 A-- | mmW-UWPDA-SLV6 | Left Spacer for mmW-UWPDA-SHO-LV6 | -
SM 028 080 A-- | SHO-LP-DWV1 | SHO V2LP PDA Left Hand Data Mode Fixture
SM 028 080 BB/BC | SHO-LP-DWV2 | SHO LP Data Wrist V2 (for SHO-V2LP hands)
SM 028 080 BD | SHO-LP-DWV4 | SHO LP Data Wrist V4 (for SHO-V3LP hands)
SM 028 060 AA/AB | SHO-LD-DWV1 | SHO LD Data Wrist V1 (for SHO-V2LD hands)
SM 028 060 AC | SHO-LD-DWV4 | SHO LD Data Wrist V4 (for SHO-V3LD hands)
SM 028 150 A-- | SHO-LWC-DWV4 | SHO LWC Data Wrist V4 (for SHO-V3LWC hands)
QD LOH 083 A-- /B-- | SHO-FTM-LSH | Set of Left Shifters for PDA and Ultra Wide PDA Hand Phantoms
QD LOH 340 A--/B--/C-- | SHO-GFPC-V1 | SHO Generic Forearm Phantom CTIA – V1 | 2-1010 and higher
QD LO6 340 A--/B--/C-- | SHO3TO6-GFPC-V1 | SHO 3TO6 GHz Generic Forearm Phantom, CTIA V1 | 6-1050 and higher
QD LO6 340 A--/B--/C-- | SHO3TO10-GFPC-V1 | SHO 3TO10 GHz Generic Forearm Phantom, CTIA V1 | 6-1050 and higher
QD 110 340 C-- | mmW-GFPC-V1 (SHO3TO110-GFPC-V1) | Generic Forearm Phantom 3 to >100 GHz V1 | 110-1000 and higher
QD CST 005 A-- | GCPC-V1 | Generic Chest Phantom, CTIA V1 | 2-1001 and higher
QD CST 009 A-- | mmW-GCPC-V1 | Generic Chest Phantom 3 to >100 GHz, CTIA V1 | 110-1001 and higher
QD CST 016 A -- | GCPC1SV1 | Generic Chest Phantom CTIA 1mm Spacer Version 1
QD LOH 360 A-- | GAPC-V1 | Generic Ankle Phantom, CTIA V1 | 2-1001 and higher
QD 110 360 A-- | mmW-GAPC-V1 | Generic Ankle Phantom 3 to >100 GHz, CTIA V1 | 110-1001 and higher
QD LOH 361 B-- | GP250-GAPC-V1 | Ground Plane of 250 mm Radius for Generic Ankle Phantom CTIA Version 1
"--" stands for any single letter

## IndexSAR Phantoms
item | Product Description
CTIA 3.x Phantom Hand
IXB-050R | CTIA ‘Monobloc’ phantom hand incl.Side mount boss, wrist mounting plug and Hand Spacer IXBS-050R for CTIA ‘Monobloc’ phantom hand IXB-050R (SLA Plastic)
IXB-051R | CTIA 'Fold’ phantom hand incl.Side mount boss, wrist mounting plug and Hand Spacer IXBS-051R for CTIA ‘Fold’ phantom hand IXB-051R (SLA Plastic)
IXB-052R | CTIA ‘Data’ phantom hand incl.Side mount boss, wrist mounting plug and Hand Spacer IXBS-052R for CTIA ‘Data’ phantom hand IXB-052R (SLA Plastic)
IXB-053R | CTIA ‘PDA’ phantom hand incl.Side mount boss, wrist mounting plug and Hand Spacer IXBS-053R for CTIA ‘PDA’ phantom hand IXB-053R (SLA Plastic)
IXB-056R | CTIA ‘PDA’ phantom hand (Ultrawide PDA 73mm to 95mm grip) version 2 incl.Side mount boss, wrist mounting plug and Hand Spacer IXBS-056R for Draft CTIA ‘PDA’ phantom hand IXB-056R (SLA Plastic)
IXB-050L | CTIA ‘Monobloc’ phantom hand incl.Side mount boss, wrist mounting plug and Hand Spacer IXBS-050L for CTIA ‘Monobloc’ phantom hand IXB-050L (SLA Plastic)
IXB-051L | CTIA 'Fold’ phantom hand incl.Side mount boss, wrist mounting plug and Hand Spacer IXBS-051L for CTIA ‘Fold’ phantom hand IXB-051L (SLA Plastic)
IXB-052L | CTIA ‘Data’ phantom hand incl.Side mount boss, wrist mounting plug and Hand Spacer IXBS-052L for CTIA ‘Data’ phantom hand IXB-052L (SLA Plastic)
IXB-053L | CTIA ‘PDA’ phantom hand incl.Side mount boss, wrist mounting plug and Hand Spacer IXBS-053L for CTIA ‘PDA’ phantom hand IXB-053L (SLA Plastic)
IXB-056L | CTIA ‘UWPDA’ phantom hand (Ultrawide PDA 73mm to 95mm grip) version 2 incl.Side mount boss, wrist mounting plug and Hand Spacer IXBS-056L for Draft CTIA ‘PDA’ phantom hand IXB-056L (SLA Plastic)
High Frequency Hands 3000 to 6000MHz
IXB-050RH | CTIA ‘Monobloc’ phantom hand incl.Side mount boss, wrist mounting plug and Hand Spacer IXBS-050R for Draft CTIA ‘Monobloc’ phantom hand IXB-050R (SLA Plastic)
IXB-051RH | CTIA 'Fold’ phantom hand incl.Side mount boss, wrist mounting plug and Hand Spacer IXBS-051R for Draft CTIA ‘Fold’ phantom hand IXB-051R (SLA Plastic)
IXB-052RH | CTIA ‘Data’ phantom hand incl.Side mount boss, wrist mounting plug and Hand Spacer IXBS-052R for Draft CTIA ‘Data’ phantom hand IXB-052R (SLA Plastic)
IXB-053RH | CTIA ‘PDA’ phantom hand incl.Side mount boss, wrist mounting plug and Hand Spacer IXBS-053R for Draft CTIA ‘PDA’ phantom hand IXB-053R (SLA Plastic)
IXB-056RH | CTIA ‘PDA’ phantom hand (Ultrawide PDA 72mm to 92mm grip) version 2 incl.Side mount boss, wrist mounting plug and Hand Spacer IXBS-056R for Draft CTIA ‘PDA’ phantom hand IXB-056R (SLA Plastic)
IXB-050LH | CTIA ‘Monobloc’ phantom hand incl.Side mount boss, wrist mounting plug and Hand Spacer IXBS-050L for Draft CTIA ‘Monobloc’ phantom hand IXB-050L (SLA Plastic)
IXB-051LH | CTIA 'Fold’ phantom hand incl.Side mount boss, wrist mounting plug and Hand Spacer IXBS-051L for Draft CTIA ‘Fold’ phantom hand IXB-051L (SLA Plastic)
IXB-052LH | CTIA ‘Data’ phantom hand incl.Side mount boss, wrist mounting plug and Hand Spacer IXBS-052L for Draft CTIA ‘Data’ phantom hand IXB-052L (SLA Plastic)
IXB-053LH | CTIA ‘PDA’ phantom hand incl.Side mount boss, wrist mounting plug and Hand Spacer IXBS-053L for Draft CTIA ‘PDA’ phantom hand IXB-053L (SLA Plastic)
IXB-056LH | CTIA ‘UWPDA’ phantom hand (Ultrawide PDA 73mm to 95mm grip) version 2 incl.Side mount boss, wrist mounting plug and Hand Spacer IXBS-056L for Draft CTIA ‘PDA’ phantom hand IXB-056L (SLA Plastic)
Indexsar & CTIA 3.x Phantom Hand Accessories
IXBS-050R | Hand Spacer for CTIA ‘Monobloc’ phantom hand IXB-050R (SLA Plastic)
IXBS-051R | Hand Spacer for CTIA ‘Fold’ phantom hand IXB-051R (SLA Plastic)
IXBS-052R | Hand Spacer for CTIA ‘Data’ phantom hand IXB-052R (SLA Plastic)
IXBS-053R | Hand Spacer for CTIA ‘PDA’ phantom hand IXB-053R (SLA Plastic)
IXBS-056R | Hand Spacer for CTIA ‘PDA’ phantom hand IXB-056R (SLA Plastic)
IXBS-050L | Hand Spacer for CTIA ‘Monobloc’ phantom hand IXB-050L (SLA Plastic)
IXBS-051L | Hand Spacer for CTIA ‘Fold’ phantom hand IXB-051L (SLA Plastic)
IXBS-052L | Hand Spacer for CTIA ‘Data’ phantom hand IXB-052L (SLA Plastic)
IXBS-053L | Hand Spacer for CTIA ‘PDA’ phantom hand IXB-053L (SLA Plastic)
IXBS-056L | Hand Spacer for CTIA ‘PDA’ phantom hand IXB-056L (SLA Plastic)
IXJ-020 | Phone alignment tool ‘A’
IXJ-030 | Phone alignment tool ‘B’
IXJ-010R | SAM face mask 6 Degree(SLA)
IXJ-010L | SAM face mask 6 Degree(SLA)
IXJ-011 | SAM Full face mask 6 Degree(SLA)
IXC-010R | Fitted Case to fit all items above
IXC-010L | Fitted Case to fit all items above
CTIA 3.x Hand Phantom Fixtures
Head and Hand Fixtures
IXBH-060 | Head /hand (Talkmode) fixture to meet the mounting requirements of Test plan v3.x (ETS Mounting for Indexsar Head)
IXBH-060-E | Talk mode Extension fixture (38mm) for IXBH-060 (for ETS AMS 8700 or 8923 OTA system)
IXBH-061 | Head /hand fixture to meet the mounting requirements of Test plan v3.x (Satimo Mounting for Satimo Head)
IXBH-061A | Head /hand fixture to meet the mounting requirements of Test plan v3.x (Satimo Mounting for Indexsar Head)
IXBH-062 | Head /hand fixture to meet the mounting requirements of Test plan v3.x (Maturo (R&S) Mounting for Indexsar Head)
IXBH-063 | Head /hand fixture to meet the mounting requirements of Test plan v3.x (Howland Mounting for Indexsar Head)
IXBH-065 | Head /hand fixture to meet the mounting requirements of Test plan v3.x (Aplushtech Mounting for Indexsar Head)
IXBH-066 | Head /hand fixture to meet the mounting requirements of Test plan v3.x (Bluetest Mounting for Indexsar Head)
IXBH-068 | Head /hand fixture to meet the mounting requirements of Test plan v3.x (ETS Mounting for SPEAG Head)
Note; MCL head is same fixings as Indexsar head!
IXBH-030L | Left hand adaptor IXBH-020 left hand adaptor assembly for IXBH-061A Head /hand fixture to meet the mounting requirements of Test plan v 3.x with fixing holes for SATIMO OTA systems
IXBH-020L or R | Left hand IXBH-030 left hand Slider assembly for IXBH-061A Head /hand fixture to meet the mounting requirements of Test plan v 3.x with fixing holes for SATIMO OTA systems
Free Space Fixtures
IXBH-020 | Mounting base for forearm
IXBH-090 | Free Space Data/PDA fixture (ETS Mounting)
IXBH-090-E | Data Mode Extension fixture (38mm) for IXBH-090 (For ETS AMS 8700 or 8923 OTA System)
IXBH-091 | Free Space Data/PDA fixture (Satimo Mounting)
IXBH-092 | Free Space Data/PDA fixture (Maturo (R&S) Mounting)
IXBH-092B | Free Space Data/PDA fixture (Maturo (R&S) Mounting) with 7mm offset mounting plugs for Maturo (R&S) turntable
IXBH-093 | Free Space Data/PDA fixture (Howland Mounting)
IXBH-095 | Free Space Data/PDA fixture (Aplushtech Mounting)
IXBH-096 | Free Space Data/PDA fixture (Bluetest Mounting)
Indexsar Phantom Heads and Fluids
IXB-030 | Strenghtened Upright SAM Phantom Head CTIA Vrs 3.x with Bubble removal kit
IXB-010 | Bubble removal kit
IXB-032F | Strenghthened Upright SAM Phantom Head CTIA Vrs 3.x with Bubble removal kit with IXF-CTIA-v 3.x Broadband Tissue
IXB-034G | Strenghthened Upright SAM Phantom Head CTIA Vrs 3.x with IXG-CTIA-v 3.x Broadband Gel Like Tissue
IXF-CTIA-v 3.x | 9 litres broadband 450-6000MHz 'CTIA' recipe fluid Non-aggressive (TWEEN IndexSAR)
IXG-CTIA-v 3.x | 9 litres broadband 450-6000MHz 'CTIA' recipe GEL Like Material Non-aggressive
IXG-CTIA-v 3.x/UP | Re-fill existing SAM Phantom with 9 litres broadband 450-6000MHz 'CTIA' recipe GEL Like Material Non-aggressive
Indexsar Forearm Phantom
IXB-020 | CTIA Phantom forearm 0.3-3GHz with IXBH-020 mounting base
IXB-022 | CTIA Phantom forearm 3-6GHz with IXBH-020 mounting base

## H-H ETS-Lindgren
ETS Part Number SPEAG | Description SPEAG HEAD / HAND KITS
115272 | CTIA3.2 - OTA Right and Left Hand Package (CTIA3.2) - includes:
1 - SAM V4.5BS (CTIA3.2)
1 - SHO V2RB Right Hand for Brick Phones (CTIA3.2* incl. spacer)
1 - SHO V2RC Right Hand for Clam-Shell Phones (CTIA3.2* incl. spacer)
1 - SHO V2RP Right Hand for PDA Phones (CTIA3.2* incl. spacer)
1 - SHO V2RD Right Hand for Data Mode (CTIA3.2* incl. spacer)
1 - SHO V2LB Left Hand for Brick Phones (CTIA3.2* incl. spacer)
1 - SHO V2LC Left Hand for Clam-Shell Phones (CTIA3.2* incl. spacer)
1 - SHO V2LP Left Hand for PDA Phones (CTIA3.2* incl. spacer)
1 - SHO V2LD Left Hand for Data Mode (CTIA3.2* incl. spacer)
1 - Fixture/Positioner for SHO V2 Talk Mode (right and left)
1 - Fixture/Positioner SHO V2 Data Mode (right and left)
1 - Phone-in-hand positioning tool B (brick)
1 - Phone-in-hand position tool C (clam-shell)
4 - SHO Cases for Hand Phantoms
1 - Mask 6 degree (right and left)
117836 | OTA Left Hand Only Package (CTIA3.2) -UPGRADE FOR CUSTOMERS WITH THE HEAD/RIGHT HAND KIT
1 - SHO V2LB Left Hand for Brick Phones (CTIA3.2* incl. spacer)
1 - SHO V2LC Left Hand for Clam-Shell Phones (CTIA3.2* incl. spacer)
1 - SHO V2LP Left Hand for PDA Phones (CTIA3.2* incl. spacer)
1 - SHO V2LD Left Hand for Data Mode (CTIA3.2* incl. spacer)
1- Upgrade to Talk Mode Fixture for SHO (right and left)
1 - Upgrade to Data Mode Fixture for SHO (right and left)
2 - SHO Cases for Hand Phantoms
1 - SHO Case for Data Mode Fixture
1 - SAM Mask 6 degree (left)
SPEAG - Individual Parts
115278 | SAM V4.5BS Head Phantom (CTIA3.2*) w/o phone positioner
115279 | SAM V4.5BS Head Phantom (CTIA3.2*) incl. phone positioner
115280 | SAM V4.5BS Head Phantom (CTIA3.2*) incl. hand fixture/positioner
115281 | SHO V2RB Right Hand for Brick Phones (CTIA3.2* incl. V2 spacer)
115282 | SHO V2LB Left Hand for Brick Phones (CTIA3.2* incl. V2 spacer)
115283 | SHO V2RC Right Hand for Clam-Shell Phones (CTIA3.2* incl. V2 spacer)
115284 | SHO V2LC Left Hand for Clam-Shell Phones (CTIA3.2* incl. V2 spacer)
115285 | SHO V2RP Right Hand for PDA Phones (CTIA3.2* incl. V2 spacer)
115286 | SHO V2LP Left Hand for PDA Phones (CTIA3.2* incl. V2 spacer)
115287 | SHO V2RD Right Hand for Data Mode (CTIA3.2* incl. V2 spacer)
115288 | SHO V2LD Left Hand for Data Mode (CTIA3.2* incl. V2 spacer)
115289 | SHO Mask 6 degree (left and right)
115290 | SHO Mask 15 degree (left and right)
115291 | Phone Positioner (left and right hand)
115292 | Talk Mode Fixture for SHO (right)
115293 | Talk Mode Fixture for SHO (left and right)
115294 | Data Mode Fixture for SHO (right)
115295 | Data Mode Fixture for SHO (left and right)
115296 | Phone-in-hand positioning tool B (brick)
115297 | Phone-in-hand position tool C (clam-shell)
115298 | Spacer, V2 for SHO V2XX
115299 | Spacer, V2 for SHO V2XX
115300 | Spacer, V2 for SHO V2XX
115301 | Spacer, V2 for SHO V2XX
115302 | Spacer, V2 for SHO V2XX
115303 | Spacer, V2 for SHO V2XX
115304 | Spacer, V2 for SHO V2XX
115305 | Spacer, V2 for SHO V2XX
115306 | Stickers, Spare, PMV (Phone MNT.Velcro)
117296 | SHO Case for Hand Phantoms
117297 | SHO Case for Data Mode Fixture
115309 | Liquid, B900 (10 liters) Brain Simulating Tissue 1&2
ETS Part Numbers
IndexSAR | HAND KIT
114112 | Right Hand Phantom Kit [IXB-200R] - CTIAv3.2 consisting of:
1 - IXB-050R - "Monobloc" phantom hand
1 - IXB-051R - "Fold" phantom hand
1 - IXB-052R -"Data" phantom hand
1 - IXB-053R - "PDA" phantom hand
1 - IXBS-050R - "Monobloc" phantom hand spacer
1 - IXBS-051R - "Fold" phantom hand spacer
1 - IXBS-052R - "Data" phantom hand spacer
1 - IXBS-053R - "PDA" phantom hand spacer
1 - IXJ-020 - Alignment jig "A"
1 - IXJ-030 - Alignment jig "B"
1 - IXJ-010RA - 6 degree SAM face mask
1 - IXC-010R - Carry case
1 - Phone removal kit
CTIA Certificate of Conformity and Users Manual
IndexSAR - Individual Parts
IXB-034G | Upright SAM Phantom Head with IXG-CTIAv3.2 Broadband Gel Like Tissue
IXB-050R | Right "Monobloc"' phantom hand including side mount boss, wrist mount plug and hand spacer for CTIAv3.2 (SLA Plastic)
IXB-050L | Left "Monobloc" phantom hand including side mount boss, wrist mount plug and hand spacer for CTIAv3.2 (SLA Plastic)
IXB-051R | Right "Fold" phantom hand including side mount boss, wrist mount plug and hand spacer for CTIAv3.2 (SLA Plastic)
IXB-051L | Left "Fold" phantom hand including side mount boss, wrist mount plug and hand spacer for CTIAv3.2 (SLA Plastic)
IXB-052R | Right "Data" phantom hand including side mount boss, wrist mount plug and hand spacer for CTIAv3.2 (SLA Plastic)
IXB-052L | Left "Data" phantom hand including side mount boss, wrist mount plug and hand spacer for CTIAv3.2 (SLA Plastic)
IXB-053R | Right "PDA" phantom hand including side mount boss, wrist mount plug and hand spacer for CTIAv3.2 (SLA Plastic)
IXB-053L | Left "PDA" phantom hand including side mount boss, wrist mount plug and hand spacer for CTIAv3.2 (SLA Plastic)
IXBS-050R | Hand Spacer for CTIA "Monobloc" phantom hand IXB-050R
IXBS-050L | Hand Spacer for CTIA "Monobloc" phantom hand IXB-050L
IXBS-051R | Hand Spacer for CTIA "Fold" phantom hand IXB-051R
IXBS-051L | Hand Spacer for CITA "Fold" phantom hand IXB-051L
IXBS-052R | Hand Spacer for CTIA "Data" phantom hand IXB-052R
IXBS-052L | Hand Spacer for CTIA "Data" phantom hand IXB-052L
IXBS-053R | Hand Spacer for CTIA "PDA" phantom hand IXB-053R
IXBS-053L | Hand Spacer for CTIA "PDA" phantom hand IXB-053L
IXJ-020 | Phone alignment tool "A"
IXJ-030 | Phone alignment tool "B"
IXJ-010RA | SAM RIGHT face mask - 6 degree
IXJ-010LA | SAM LEFT face mask - 6 degree
IXJ-011A | SAM Full face mask - 6 degree
IXC-010R | Fitted Case to fit all items above [right]
IXC-010L | Fitted Case to fit all items above [left]
ETS Part Number | Description
110830 | Mount - Mount, Lap Top mount for AMS-8050 MAPS
114253 | Mount - IndexSAR/SPEAG Right Hand Only (8050)
114500 | Mount - IndexSAR/SPEAG Right Hand Only Phantom [8500/8600/8700/88XX/89XX]
115045 | Mount – Baseplate for IndexSAR Head Phantom and IndexSAR or SPEAG Hand Phantoms - left and right [8500/8600/8700/88XX/89XX]
115050 | Mount - IndexSAR Head / IndexSAR Hands (Right) [8500/8600/8700/88XX/89XX
115055 | Mount - IndexSAR Head / SPEAG Right Hands [8500/8600/8700/88XX/89XX]
115070 | Mount - SPEAG Head Phantom - Chinese TD-SCDMA (8500/8600/8700/8800/8900) medium duty MAPS
115080 | Mount - IndexSAR Head Phantom - Chinese TD-SCDMA (8500/8600/8700/8800/8900)
115322 | Mount - SPEAG Head Mount Plate (8500/8600/8700/88XX/89XX) - Must be 2115CR
115490 | Mount - SPEAG Head Mount Plate (8050)
115613 | Mount - IndexSAR Head / SPEAG Right Hands (8050)
117120 | Mount - IndexSAR Head / SPEAG Left Hands (8050)
117275 | Mount - IndexSAR/SPEAG Left Hand Only (8050)
117300 | Mount - IndexSAR Head / SPEAG Left Hands [8500/8600/8700/88XX/89XX]
117301 | Mount - IndexSAR/SPEAG Left Hand Only [8500/8600/8700/88XX/89XX]
118230 | Mount – IndexSAR Head Phantom to IndexSAR Left Hand Phantoms [8500/8600/8700/88XX/89XX]
118235 | Mount – IndexSAR Head Phantom to IndexSAR Left/Right Hand Phantoms [8500/8600/8700/88XX/89XX]

## H-H Mot Mobility
Motorola Mobility Hand Phantom Fixture
MMI Part | Unque Identifier | Released Version | Descrption
6 degree mask spacer | MSK_SPC_R1 | R1 | For left and right H&H testing, provides 6 deg tilt
Head & Hand Base | HH_BASE_R8 | R8 | Interfaces with Howland Styrofoam column
Base angle wedge | BS_ANG_WDG_R8 | R8 | provides 30 deg tilt angle to hand and phone
cheek angle guide | CHK_ANG_GD_R8 | R8 | adjusts hand & phone tilt away from cheek
Longtitudnal guide | LONG_GD_R8 | R8 | adjusts hand & phone logitudnal control
PDA Hand lateral guide | PDA_LAT_GD_R8 | R8 | adjusts PDA hand & phone lateral control
Fold Hand Lateral guide | FLD_LAT_GD_R8 | R8 | adjusts Fold hand & phone lateral control
Monoblock Hand lateral guide | MB_LAT_GD_R8 | R8 | adjusts Monoblock hand & phone lateral control
PDA Hand Mounting bracket | PDA_MNT_BK_R8 | R8 | Interfaces between Speag PDA hand and PDA Hand Lateral guide
Monoblock Hand Mounting bracket | MB_MNT_BK_R8 | R8 | Interfaces between Speag Monoblock hand and Monoblock Hand lateral guide
Fold Hand Mounting bracket | FLD_MNT_BK_R8 | R8 | Interfaces between Speag Fold hand and Fold Hand Lateral guide
Data Hand fixture | DAT_HD_FIX_R1 | R1 | holds hand & phone in 45 deg tilt in free space
Free Space base | FS_BS_R1 | R1 | Interfaces with Howland Styrofoam column
Free Space Phone brace | FS_PH_BR_R1 | R1 | provides Z axis mounting for phone in free space

## Microsoft H_H
MMI Part | Unque Identifier | Released Version
Microsoft CTIA Head Spacer Left | M-Head-S-L | v 1.0
Microsoft CTIA Head Spacer Right | M-Head-S-R | v 1.0
Microsoft CTIA PDA Hand Spacer Left | M-PDA-S-L | v 1.0
Microsoft CTIA PDA Hand Spacer Right | M-PDA-S-R | v 1.0

## Nokia Oulu
Equipment | Type | Serial number | Manufacturer | Calibration Date | Calibration interval (years) | Performer of Calibration | Notes
Alignment tool A | Nokia alignment 1 | 1 | Nokia | no cal |  |  | manufactured from CTIA CAD files
Alignment tool B | Nokia alignment 2 | 1 | Nokia | no cal |  |  | manufactured from CTIA CAD files
Right Hand Phantom Spacer | Nokia monoblock | 1 | Nokia | no cal |  |  | manufactured from CTIA CAD files
Right Hand Phantom Spacer | Nokia PDA | 1 | Nokia | no cal |  |  | manufactured from CTIA CAD files
Right Hand Phantom Spacer | Nokia data | 1 | Nokia | no cal |  |  | manufactured from CTIA CAD files
Right Hand Phantom Spacer | Nokia clam | 1 | Nokia | no cal |  |  | manufactured from CTIA CAD files

## History1
History | Change Description
1 | Initial Release