## Cover
List of Authorized Battery Life Test Systems
Version 5.3
This document defines the battery life test systems authorized by CTIA Certification for the Battery Life Test Plan
© 2016 - 2026 CTIA Certification. All Rights Reserved.
Any reproduction, modification, alteration, creation of a derivative work, or transmission of all or any part of this publication, in any form, by any means, whether electronic or mechanical, including photocopying, recording, or via any information storage and retrieval system, without the prior written permission of CTIA Certification, is unauthorized and strictly prohibited by federal copyright law. This publication is solely for use within the CTIA Certification Program. Any other use of this publication is strictly prohibited unless authorized by CTIA Certification or its assigns in writing.

## Authorized Systems-5G FR1
Analytek / Rohde&Schwarz Battery Life Testing
Minimum Configuration List for CTIA Battery Life Test Plan - 5G FR1 testing
| Manufacturer | Model | Minimum Qty | Minimum SW Version | Script Version | Notes / Required options
| Analytek Limited | ANALYTEK BATTERY LIFE SW
|  | ANA-TSB-CTIA-5G ANA-OPT-GNSS-01 | 1 | 3.84.35.767 | Test Suite 2.1 or later | 5G NR FR1 Capabilities and Test Suite Option for GNSS Simulator handling.
| Rohde & Schwarz | BASE HARDWARE |  |  |  | Specific options required in addition to any existing options fitted
|  | CMX500 OBT Lite Configuration | 1 | CSW 8.10.0.22 |  | CMX500 Radio Communication Tester
|  | CMX-PB70H | 1 |  |  | CMX500 Basic Assembly
|  | CMX-B200A | 1 |  |  | CMX500 Accelerator Unit (AU)
|  | CMX-B300B | 1 |  |  | CMX500 Processing Unit (PU)
|  | CMX-B600A | 1 |  |  | CMX500 RF Unit (RFU) Retrofit Kit
|  | FR1 NSA and SA FDD and TDD Software |  |  |  | Specific options required in addition to any existing options installed
|  | CMX-KS600B | 1 | CSW 8.10.0.22 |  | 5G NR R15 NSA FDD&TDD Basic Signaling Feature Set 1
|  | CMX-KS611B | 1 | CSW 8.10.0.22 |  | 5G NR R16 Basic (SUL & R16)
|  | APPLICATION TESTING HW & SW |  |  |  | Specific options required in addition to any existing options fitted and installed
|  | CMX-KA100 | 1 | CSW 8.10.0.22 |  | 5G NR E2E Enabler (IMS) including Android Throughput App
|  | CMX-KA110 | 1 | CSW 8.10.0.22 |  | QoS, IP Tuning & IP Analysis
| Keysight | KEYSIGHT ANALYSER
|  | N6705B or N6705C or N6700 mainframe | 1 | FW D.02.08 or later |  | DC Power Analyser mainframe or Modular Power System (MPS) mainframe
|  | N6785A | 1 |  |  | Measure Unit for Battery Drain Analysis
| RaceLogic | LabSat 3 GNSS Simulator
|  | RLLS03-1P | 1 |  |  | Minimum configuration: Single constellation Replay Only

## Authorized Systems-LTE
Analytek / Rohde&Schwarz Battery Life Testing
Minimum Configuration List for CTIA Battery Life Test Plan - LTE Testing
| Manufacturer | Model | Minimum Qty | SW Version | Script Version | Notes / Required options
| Analytek Limited | ANALYTEK BATTERY LIFE SW
|  | ANA-TSB-CTIA or ANA-TS-CTIA-BLTP and ANA-UPG-TS-CTIA-130 ANA-OPT-GNSS-01 | 1 | Framework 3.83 Build 767 or later | Test Suite 2.0 or later | ANA-TSB-CTIA is required for new installations. When adding to existing licensed Test Suite(s), only ANA-TS-CTIA-BLTP is required (ANA-OPT-AUX-PSU is a pre-requisite). Option for GNSS Simulator handling.
|  | ANA-TS-CTIA-MIOT |  |  | TS 2.0 | Test Suite for MIoT tests as per TP 1.7
| Rohde & Schwarz | BASE HARDWARE |  |  |  | Specific options required in addition to any existing options fitted
|  | CMW500 | 1 | 3.7.120 and later |  | Wideband Radio Communication Tester
|  | CMW-B590A or B590D | 2 |  |  | RF Frontend, basic (B590A *2), or advanced (B590D *1) required
|  | CMW-B570B | 2 |  |  | RF Converter (TRX) - 2 required
|  | CMW-B612A or B612B | 1 |  |  | IEEE Bus Interface, single interface
|  | LTE FDD HW & SW |  |  |  | Specific options required in addition to any existing options installed
|  | CMW-B300 or B500 | 1 |  |  | Signaling Unit for WCDMA / LTE
|  | CMW-KS500 | 1 | 3.7.60 and later 3.7.31 for B300 |  | LTE FDD Release 8, SISO, signaling/network emulation, basic functionality
|  | CMW-KS510 | 1 | 3.7.60 and later 3.7.31 for B300 |  | LTE FDD Release 8, SISO, signaling/network emulation, advanced functionality
|  | CMW-KS520 | 1 | 3.7.60 and later 3.7.31 for B300 |  | LTE FDD MIMO 2x2, signaling/network emulation, generic feature
|  | CAT-M and NB-IoT SW |  |  |  | Specific options required in addition to any existing options installed
|  | CMW-B500 | 1 |  |  | Signaling Unit for NB-IoT (B300 not supported)
|  | CMW-KS300 | 1 | 3.7.80 or later |  | NB-IoT R13/14, generic signaling
|  | CMW-KS590 | 1 | 3.7.70 or later |  | LTE MTC, generic signaling
|  | WCDMA |  |  |  | Specific options required in addition to any existing options installed
|  | CMW-KS400 | 1 | 3.7.22 and later |  | WCDMA Release 99, signaling/network emulation, basic functionality
|  | CMW-KS410 | 1 | 3.7.22 and later |  | WCDMA Release 99, signaling/network emulation, advanced functionality
|  | APPLICATION TESTING HW & SW |  |  |  | Specific options required in addition to any existing options fitted and installed
|  | CMW-B450 | 1 |  |  | Data Application Unit
|  | CMW-KA100, KA150, KAA20 and CMW-KM050 | 1 | 3.7.41 and later |  | Application Testing (CMW-PK45 includes these options and is recommended, but not mandatory)
| Keysight | KEYSIGHT ANALYSER
|  | N6705B or N6705C or N6700 mainframe | 1 | FW D.02.08 or later |  | DC Power Analyser mainframe or Modular Power System (MPS) mainframe
|  | N6785A | 1 |  |  | Measure Unit for Battery Drain Analysis
| RaceLogic | LabSat 3 GNSS Simulator
|  | RLLS03-1P | 1 |  |  | Minimum configuration: Single constellation Replay Only

## Release History
Version | Change Description | Release Date
1.0 | Initial Release | September 2016
2.0 | Editorial changes to Analytek, Anritsu, and W2BI/Keysight equipment list | October 2016
3.0 | Added Keysight N6700 mainframe to Analytek tab. Added N6705C support for Analytek, Anritsu and W2bi/Keysight. Modified fireware versions of Anritsu MD8475A and MX847503 in Anritsu tab. | January 2017
4.0 | Added Anristu MD8475B signaling tester (minimum configuration) | May 2017
4.1 | Editorial changes | May 2017
4.2 | Modified Analytek Tab to add VoLTE Test | September 2017
4.3 | Modified Analytek Tab to add B500 (SUA) and B450H hardware. Removed changes relating to TP release 1.2 Removed Anritsu tab Removed W2BI Keysight tab | March 2018
4.4 | Added upgrade details for TP 1.3 release. Merged B300 and B500 hardware option columns into one. | July 2018
4.5 | Update of Analytek software version | December 2019
4.6 | Update for Analytek software version and CMW500 hardware clarification
4.6 | Added tab for TP 1.6 release due to different hw requirements | March 2021
4.6 | Corrections to Options | May 2021
4.6.1 | Corrections to 1.6 Software Option version | August 2021
4.7 | Added tab for LTE testing related to TP 1.7 release. Updated Analytek software versions. Removed tabs for Authorized System 1.5 and Authorized System 1.6 | December 2022
5 | Added tab for 5G FR1 testing related to TP 2.0 release | April 2024
5.1 | Update to 5G Test Software version Update to LTE Test Software version Mandating N6785A for Power Measurements | February 2025
5.2 | Update to 5G Test Software version Removal of FR2 from 5G Test Platform | July 2025
5.3 | 5G FR1 Tab - Removal of Option KS601B which has been merged into KS600B | January 2026